## 封面
MS-003
软件单元测试记录
编制/时间：___________________
审核/时间：___________________
批准/时间：___________________

## 文档履历
文档更改履历
| 版本号 | 发布/实施日期 | 更改内容概述 | 更改者
| v1.0 |  | 文件新编

## 用例表
测试用例ID | 测试用例 | 测试名称 | 判断标准 | 输入项目 | 期望输出 | 实际输出 | 测试结果
A-UT0101001 | TestStRoiData | TestSetItkImage | 设置ITK图像数据 | ImageType::Pointer itkImage = ImageType::New(); ImageType::IndexType start{ 0,0,0 }; ImageType::SizeType size{ 200,210,220 }; ImageType::RegionType region; region.SetSize(size); region.SetIndex(start); itkImage->SetRegions(region); itkImage->Allocate(); StRoiData* data = new StRoiData("", DataStep::ROI); data->SetItkImage(ImageRegion::Hip, itkImage); vtkImageData* result = data->GetImage(ImageRegion::Hip); | EXPECT_TRUE( result->GetOrigin()[0] == 0 && result->GetOrigin()[1] == 0 && result->GetOrigin()[2] == 0 && result->GetDimensions()[0] == 200 && result->GetDimensions()[1] == 210 && result->GetDimensions()[2] == 220); | 与期望相同 | 通过
|  | TestSetROI | 图像的感兴趣区域提取 | ImageType::Pointer itkImage = ImageType::New(); ImageType::IndexType start{0,0,0}; ImageType::SizeType size{200,200,200}; ImageType::RegionType region; region.SetSize(size); region.SetIndex(start); itkImage->SetRegions(region); itkImage->Allocate(); StRoiData* data = new StRoiData("",DataStep::ROI); data->SetItkImage(ImageRegion::Hip, itkImage); data->SetROI(ImageRegion::Hip, new double[6]{ 50,120,70, 100, 80,190 }); vtkImageData* result = data->GetImage(ImageRegion::Hip); | EXPECT_TRUE( result->GetOrigin()[0] == 50 && result->GetOrigin()[1] == 70 && result->GetOrigin()[2] == 80 && result->GetDimensions()[0] == 71 && result->GetDimensions()[1] == 31 && result->GetDimensions()[2] == 111); | 与期望相同 | 通过
| TestStCheckPoint | TestSerialize | 序列化为Json字符串 | StCheckPoint* checkPt = new StCheckPoint(); checkPt->SetFirstPt(new double[3]{ 1,2,3 }); checkPt->SetSecondPt(new double[3]{ 4,5,6 }); QJsonObject jObj = checkPt->Serialize(); | EXPECT_TRUE( jObj["0"].toArray()[0] == 1 &&jObj["0"].toArray()[1] == 2 &&jObj["0"].toArray()[2] == 3 &&jObj["1"].toArray()[0] == 4 &&jObj["1"].toArray()[1] == 5 &&jObj["1"].toArray()[2] == 6); | 与期望相同 | 通过
|  | TestDeserialize | 根据Json字符串反序列化 | StCheckPoint* checkPt = new StCheckPoint(); QString str = "{\"0\": [1,2,3] ,\"1\" : [4,5,6] }"; checkPt->Deserialize(str); | EXPECT_TRUE( checkPt->GetFirstPt()[0] == 1 &&checkPt->GetFirstPt()[1] == 2 &&checkPt->GetFirstPt()[2] == 3 &&checkPt->GetSecondPt()[0] == 4 &&checkPt->GetSecondPt()[1] == 5 &&checkPt->GetSecondPt()[2] == 6 ); | 与期望相同 | 通过
|  | TestGetDistance | 计算两点之间距离 | StCheckPoint* checkPt = new StCheckPoint(); checkPt->SetFirstPt(new double[3]{ 1,3,0}); checkPt->SetSecondPt(new double[3]{ 2,4,0 }); double dist = checkPt->GetDistance(); | EXPECT_NEAR(dist, 1.414, 0.01); | 与期望相同 | 通过
| TestStLandmarksData | TestDeserialize | 根据Json字符串反序列化 | StLandmarksData* data = new StLandmarksData(DataStep::LANDMARK); data->SetCTLandmarks(LandmarkType::OperativeASIS ,new double[3]{ 1,2,3 }); data->Deserialize("{ \"data\": [{\"LandmarkType\":0, \"point value\" : [1, 2, 3] }, {\"LandmarkType\":1,\"point value\" : [4,5,6] }] }");; const double* result = data->GetCTLandmark(LandmarkType::OperativeASIS); | EXPECT_TRUE( result[0] == 1 && result[1] == 2 && result[2] == 3); | 与期望相同 | 通过
|  | TestGetOpFemurBonyLandmarks | 获取术侧股骨标记点 | StLandmarksData* data = new StLandmarksData(DataStep::LANDMARK); QList<LandmarkType> typeList{ LandmarkType::Op_FemurHeadCenter , LandmarkType::Op_FemurProximalCanal , LandmarkType::Op_FemurDistalCanal , LandmarkType::Op_MedialEpicondyle ,LandmarkType::Op_LateralEpicondyle, LandmarkType::Op_FemurNeckCenter , LandmarkType::Op_LesserTrochanter }; for (int i = 0; i < typeList.count(); i++) { data->SetCTLandmarks(typeList[i], new double[3]{ (double)i * 3 + 1,(double)i * 3 + 2,(double)i * 3 + 3 }); } const double* result = data->GetOpFemurBonyLandmarks().LesserTrochanter; | EXPECT_TRUE( result[0] ==19 && result[1] == 20 && result[2] == 21); | 与期望相同 | 通过
| TestStMedicalIndicator | TestCorrectedPelvis | 对骨盆进行矫正，使得髂前上棘连线与X轴平行 | double leftAsis[3] = { 140, 49, 27.6 }; double rightAsis[3] = { 110, 55, 23 }; vtkTransform* trans = vtkTransform::New(); StMedicalIndicator::CorrectedPelvis(leftAsis, rightAsis, trans); double line[3]; for (int i = 0; i < 3; i++) { line[i] = leftAsis[i] - rightAsis[i]; } double* transLine = trans->TransformVector(line); vtkMath::Normalize(transLine); | EXPECT_NEAR(transLine[0], 1, 0.0001); EXPECT_NEAR(transLine[1], 0, 0.0001); EXPECT_NEAR(transLine[2], 0, 0.0001); | 与期望相同 | 通过
|  | TestComputeRA | 正确计算臼杯前倾角 | StMedicalIndicator* indicator = new StMedicalIndicator(OperativeSide::SIDE_RIGHT); double axis[3] = { 0, 1, 0 }; double ra = indicator->ComputeRA(axis); | EXPECT_DOUBLE_EQ(ra, -90); | 与期望相同 | 通过
|  | TestComputeRI | 正确计算臼杯外展角 | StMedicalIndicator* indicator = new StMedicalIndicator(OperativeSide::SIDE_RIGHT); double axis[3] = { 1, 0, 1 }; double ra = indicator->ComputeRI(axis); | EXPECT_DOUBLE_EQ(ri, 90); | 与期望相同 | 通过
| TestStFemurIndicator | TestCorrectedFemur | 对股骨进行矫正，使得指定轴与Z轴方向一致 | double axis[3] = { 1, 0, 1 }; double rotateCenter[3] = { 20,80.9,40 }; double proximalPt[3] = { 3.3, 85.9, 37 }; double distalPt[3] = { 0.2, 85.3, 24 }; vtkTransform* trans = vtkTransform::New(); StFemurIndicator::CorrectedFemur(axis,rotateCenter,proximalPt,distalPt, trans,OperativeSide::SIDE_LEFT); double* vec = trans->TransformVector(axis); vtkMath::Normalize(vec); | EXPECT_NEAR(vec[0], 0,0.00001); EXPECT_NEAR(vec[1], 0, 0.00001); EXPECT_NEAR(vec[2], 1, 0.00001); | 与期望相同 | 通过
|  | TestComputeFNA | 计算股骨前倾角 | double lCondyle[3] = { -120,-70,-100 }; double mCondyle[3] = { -60,-70,-105 }; double neckAxis[3] = { 1, 1, 10.2 }; double proximalPt[3] = { 0,0,1 }; double distalPt[3] = { 0,0,0 }; double fna = StFemurIndicator::ComputeFNA(neckAxis, lCondyle, mCondyle, proximalPt, distalPt, OperativeSide::SIDE_LEFT); | EXPECT_DOUBLE_EQ(fna,45); | 与期望相同 | 通过
A-UT0101001 | TestStCalculatePlane | TestRansac3DPlane | 正确拟合平面法向 | std::vector<double*> points; points.push_back(new double[3]{ 1.56,2.46,0}); points.push_back(new double[3]{ 4.24,6.24,0}); points.push_back(new double[3]{ 5.131,3.55,0}); double plane[4] = { 0 }; StCalculatePlane::Ransac3DPlane(points, plane); | EXPECT_NEAR(plane[0], 0, 0.001); EXPECT_NEAR(plane[1], 0, 0.001); EXPECT_NEAR(plane[2], 1, 0.001); | 与期望相同 | 通过
| TestStCommonAlgorithm | TestFittingBallCenter | 正确拟合球心 | double orgCenter[3]{ -90,-10,1440 }; QList<QVector3D> points; points.push_back(QVector3D(-60,-10,1440)); points.push_back(QVector3D(-120, -10, 1440)); points.push_back(QVector3D(-90, -40, 1440)); points.push_back(QVector3D(-90, 20, 1440)); points.push_back(QVector3D(-90, -10, 1470)); points.push_back(QVector3D(-90, -10, 1410)); points.push_back(QVector3D(-75, 11.2132,1455)); points.push_back(QVector3D(-105, 11.2132, 1455)); points.push_back(QVector3D(-68.7868, 5, 1455)); points.push_back(QVector3D(-75, 5, 1418.7868)); StCommonAlgorithm::FittingBallCenter(points, center); | EXPECT_NEAR(center[0], orgCenter[0], 0.001); EXPECT_NEAR(center[1], orgCenter[1], 0.001); EXPECT_NEAR(center[2], orgCenter[2], 0.001); | 与期望相同 | 通过
| TestStPlanPackageHelper | TestExportPlanPackage | 能否导出规划包 | QString path = "C:/Users/Admin/Desktop/Test.tha"; std::string caseId = "d2dcae58-de73-4aa0-99bb-786392ba3eba"; bool result = StPlanPackageHelper::ExportPlanPackage(path, caseId); | EXPECT_TRUE(result); | 与期望相同 | 通过
|  | TestImportPlanPackage | 能否导入规划包 | QString path = "C:/Users/Admin/Desktop/Test.tha"; std::string caseId = "d2dcae58-de73-4aa0-99bb-786392ba3eba"; std::string id = StPlanPackageHelper::ImportPlanPackage(path, caseId); | EXPECT_TRUE( id != ""); | 与期望相同 | 通过
| TestStSurgicalInfoParser | TestApproach2String | 手术入路方式枚举转字符串 | SurgicalApproach approach = SurgicalApproach::LATERAL_POSITION; QString approachtStr = StSurgicalInfoParser::Approach2String(approach); | EXPECT_TRUE( approachtStr == u8"侧卧位"); | 与期望相同 | 通过
|  | TestGetWorkflowString | 手术流程枚举转字符串 | SurgicalWorkflow workflow = SurgicalWorkflow::ENHANCE; QString workflowStr = StSurgicalInfoParser::Workflow2String(workflow); | EXPECT_TRUE( workflowStr == u8"股骨及髋臼"); | 与期望相同 | 通过
| TestStProthesisTransformCompute | TestComputeStemTransform | 根据给定条件计算股骨柄假体位姿 | FemurBonyLandmarks landmarks; landmarks.HeadCenter[0] = 95.07316718116559; landmarks.HeadCenter[1] = -11.885609002738867; landmarks.HeadCenter[2] = 1447.0447637097404; landmarks.NeckCenter[0] = 108.51815965107593; landmarks.NeckCenter[1] = -1.7876532562522591; landmarks.NeckCenter[2] = 1425.2069147307311; landmarks.ProximalCanal[0] = 115.16096157758847; landmarks.ProximalCanal[1] = 1.9891180407014968; landmarks.ProximalCanal[2] = 1361.8097825066861; landmarks.DistalCanal[0] = 109.88132562177543; landmarks.DistalCanal[1] = -4.211494228738684; landmarks.DistalCanal[2] = 1272.205884155645; landmarks.MedialEpicondyle[0] = 47.795675196311976; landmarks.MedialEpicondyle[1] = 17.745737918873857; landmarks.MedialEpicondyle[2] = 1055.4201547213424; landmarks.LateralEpicondyle[0] = 131.86295842826325; landmarks.LateralEpicondyle[1] = -22.98581459106431; landmarks.LateralEpicondyle[2] = 1054.67928758687; StemParam stemParam; stemParam.Center[0] = -31.8; stemParam.Center[1] = 31.8; stemParam.Center[2] = 0; stemParam.CutPlaneCenter[0] = -7.055; stemParam.CutPlaneCenter[1] = 7.055; stemParam.CutPlaneCenter[2] = 0; stemParam.ProximalCanal[0] = 0; stemParam.ProximalCanal[1] = 0; stemParam.ProximalCanal[2] = 0; stemParam.DistalCanal[0] = 0; stemParam.DistalCanal[1] = 0; stemParam.DistalCanal[2] = 1; stemParam.NeckAngle = 135; //测试股骨干轴对齐 vtkSmartPointer<vtkTransform> transform = StProthesisTransformCompute::ComputeStemTransform(20, landmarks, stemParam, OperativeSide::SIDE_LEFT); double orgdir[3]; for (int i = 0; i < 3; i++) { orgdir[i] = landmarks.ProximalCanal[i] - landmarks.DistalCanal[i]; } vtkMath::Normalize(orgdir); double dir[3]; for (int i = 0; i < 3; i++) { dir[i] = stemParam.ProximalCanal[i] - stemParam.DistalCanal[i]; } transform->TransformVector(dir, dir); vtkMath::Normalize(dir); | EXPECT_NEAR(dir[0],orgdir[0],0.001); EXPECT_NEAR(dir[1], orgdir[1], 0.001); EXPECT_NEAR(dir[2], orgdir[2], 0.001); | 与期望相同 | 通过
|  | TestComputeCupTransform | 根据给定条件计算臼杯位姿 | CupParam cupParam; cupParam.InternalDiam = 36; cupParam.OuterDiam = 44; cupParam.Center[0] = 0; cupParam.Center[1] = 0; cupParam.Center[2] = 0; cupParam.Normal[0] = 0; cupParam.Normal[1] = 1; cupParam.Normal[2] = 0; vtkSmartPointer<vtkTransform> transform = StProthesisTransformCompute::ComputeCupTransform(15, 20, new double[3]{0,0,0}, cupParam, OperativeSide::SIDE_LEFT); double* normal = transform->TransformVector(cupParam.Normal); double coronalPlaneNormal[3] = { 0.0, -1.0, 0.0 }; double angle = vtkMath::DegreesFromRadians(vtkMath::AngleBetweenVectors(normal, coronalPlaneNormal)); double ra = 90.0 - angle; normal[1] = 0; double zAxis[3] = { 0.0, 0.0, -1.0 }; double ri = vtkMath::DegreesFromRadians(vtkMath::AngleBetweenVectors(normal, zAxis)); | EXPECT_NEAR(ra, 20, 0.001); EXPECT_NEAR(ri, 15, 0.001); | 与期望相同 | 通过
| TestStCaseInfomationService | TestQueryAll | 正确返回病例列表 | std::vector<CaseInfo> res_list; StCaseInfomationService::QueryAll(res_list); | EXPECT_NE(res_list.size(), 0); | 与期望相同 | 通过
|  | TestInsert | 正确新增一条病例 | CaseInfo res_case; res_case.createrid = "ebf4419b-68c0-4422-952c-81d479cbe11f"; res_case.surgicalinfo = "{}"; res_case.surgicaltype = "{}"; insert_id = StCaseInfomationService::Insert(res_case); | EXPECT_FALSE(insert_id.empty()); | 与期望相同 | 通过
|  | TestQuery | 正确返回指定ID的病例 | CaseInfo res_case; StCaseInfomationService::Query(insert_id, res_case); | EXPECT_STREQ(res_case.id.c_str(), insert_id.c_str()); | 与期望相同 | 通过
|  | TestUpdate | 正确更新一条病例 | CaseInfo res_case; StCaseInfomationService::Query(insert_id, res_case); res_case.patientage += 1; StCaseInfomationService::Update(insert_id, res_case); CaseInfo update_case; StCaseInfomationService::Query(insert_id, update_case); | EXPECT_EQ( update_case.patientage, res_case.patientage); | 与期望相同 | 通过
|  | TestDelete | 正确删除一条病例 | bool result = StCaseInfomationService::Delete(insert_id); | EXPECT_EQ(result, !insert_id.empty()); | 与期望相同 | 通过
|  | TestGetTodayCaseCount | 获取当日病例总数 | int res = -1; res = StCaseInfomationService::GetTodayCaseCount(); | EXPECT_NE(res, -1); | 与期望相同 | 通过
|  | TestQueryAllOrderByTime | 按照日期倒序获取病例总数 | std::vector<CaseInfo> case_list; StCaseInfomationService::QueryAllOrderByTime(case_list); | EXPECT_NE(case_list.size(), 0); | 与期望相同 | 通过
| TestStCoreDataService | TestInsert | 新增一条核心数据 | std::string caseid = "6e6f475d-5e06-44cd-868d-19d66dec8c04"; CoreData data; data.jsondata = "{}"; data.step = 1; data.caseid = caseid; insert_id = StCoreDataService::Insert(data); | EXPECT_FALSE(TestStCoreDataService::insert_id.empty()); | 与期望相同 | 通过
|  | TestQueryAll | 根据病例id获取所有对应核心数据 | std::string caseid = "6e6f475d-5e06-44cd-868d-19d66dec8c04"; std::vector<std::string> res_list; res_list = StCoreDataService::QueryAll(caseid); | EXPECT_NE(res_list.size(), 0); | 与期望相同 | 通过
|  | TestQuery | 根据id查找核心数据 | CoreData res_data; StCoreDataService::Query(insert_id, res_data); | EXPECT_STREQ(res_data.id.c_str(), insert_id.c_str()); | 与期望相同 | 通过
|  | TestQueryByCase | 根据病例id和步骤查找核心数据 | CoreData res_data; bool res = StCoreDataService::QueryByCase(insert_id, 3, res_data); | EXPECT_FALSE(res); | 与期望相同 | 通过
|  | TestUpdate | 更新核心数据 | std::string caseid = "533f9a7e-7ef2-4fc8-908c-5d043b9bce68"; CoreData data, update_data; data.jsondata = "{}"; data.step = 98; data.caseid = caseid; StCoreDataService::Update(insert_id, data); StCoreDataService::Query(insert_id, update_data); | EXPECT_EQ( update_data.step, data.step); | 与期望相同 | 通过
|  | TestDelete | 删除指定的核心数据 | bool deleteResult = StCoreDataService::Delete(insert_id); CoreData res_data; bool queryResult = StCoreDataService::Query(insert_id, res_data);; | EXPECT_TRUE(deleteResult && !queryResult); | 与期望相同 | 通过
| TestStDatabaseManager | TestConnectDB | 连接数据库 | bool conn = StDatabaseManager::ConnectDB(); | EXPECT_TRUE(conn); | 与期望相同 | 通过
|  | TestQueryDbVersion | 获取当前数据库版本号 | int db_version = -1; db_version = StDatabaseManager::QueryDbVersion(); | EXPECT_NE(-1, db_version); | 与期望相同 | 通过
| TestStGuidHelper | TestCreateGuidString | 生成GUID编号 | std::string guid1 = StGuidHelper::CreateGuidString(); std::string guid2 = StGuidHelper::CreateGuidString(); | EXPECT_STRNE(guid1.c_str(), guid2.c_str()); | 与期望相同 | 通过
| TestStImageService | TestInsert | 插入一条图像数据 | ImageData data; data.caseid = "533f9a7e-7ef2-4fc8-908c-5d043b9bce68"; insert_id_ = StImageService::Insert(data); | EXPECT_FALSE( insert_id_.empty()); | 与期望相同 | 通过
|  | TestQueryIdByCase | 根据病例id查找所有图像id | std::vector<std::string> image_list; std::string case_id = "533f9a7e-7ef2-4fc8-908c-5d043b9bce68"; image_list = StImageService::QueryIdByCase(case_id); | EXPECT_FALSE( image_list.empty()); | 与期望相同 | 通过
|  | TestQuery | 根据指定的id查找相应数据 | ImageData data; StImageService::Query(insert_id_, data); | EXPECT_STREQ( insert_id_.c_str(), data.id.c_str()); | 与期望相同 | 通过
|  | TestUpdate | 更新图像数据 | ImageData data; ImageData update_data; StImageService::Query(insert_id_, data); data.part = 2; data.path = "D:/TEST"; StImageService::Update(insert_id_, data); StImageService::Query(insert_id_, update_data); | EXPECT_EQ(data.part, update_data.part); EXPECT_EQ(data.path, update_data.path); | 与期望相同 | 通过
|  | TestDelete | 删除图像数据 | bool delResult = StImageService::Delete(insert_id_); ImageData data; bool result = StImageService::Query(insert_id_, data); | EXPECT_TRUE( delResult && !result); | 与期望相同 | 通过
| TestStSystemUserService | TestInsert | 插入一条用户数据 | SystemUserInfo user; user.username = "unitTest"; user.password = "1"; user.privilege = 0; user.createrid = "a3ff0aaf-00cc-4b2c-9315-905e9d65faf4"; insert_id = StSystemUserService::Insert(user); | EXPECT_FALSE(insert_id.empty()); | 与期望相同 | 通过
|  | TestQueryAll | 查询所有用户数据 | std::vector<SystemUserInfo> userlist; StSystemUserService::QueryAll(userlist); | EXPECT_NE(userlist.size(), 0); | 与期望相同 | 通过
|  | TestQueryByPrivilege | 根据用户权限查询数据 | std::vector<SystemUserInfo> userlist; int privilege = 0; StSystemUserService::QueryByPrivilege(privilege, userlist); | EXPECT_NE(userlist.size(), 0); | 与期望相同 | 通过
|  | TestQuery | 根据指定id查询用户数据 | SystemUserInfo user; StSystemUserService::Query(insert_id, user); | EXPECT_EQ(insert_id, user.id); EXPECT_EQ(user.privilege, 0); EXPECT_EQ(user.username, "unitTest"); | 与期望相同 | 通过
|  | TestUpdate | 更新一条用户数据 | SystemUserInfo user,res_user; StSystemUserService::Query(insert_id, user); user.privilege = 1; user.password = "123"; StSystemUserService::Update(insert_id, user); StSystemUserService::Query(insert_id, res_user); | EXPECT_EQ(res_user.privilege, user.privilege); EXPECT_EQ(res_user.password, user.password); | 与期望相同 | 通过
|  | TestDelete | 删除一条用户数据 | bool delResult = StSystemUserService::Delete(insert_id); SystemUserInfo user; bool result = StSystemUserService::Query(insert_id, user); | EXPECT_TRUE( delResult && !result); | 与期望相同 | 通过
| TestStJsonHelper | TestJsonToString | 将json转化为字符串 | QJsonObject json_obj; json_obj.insert("test", "1"); QString res = StJsonHelper::JsonToString(json_obj); | EXPECT_EQ(res,"{\"test\":\"1\"}"); | 与期望相同 | 通过
|  | TestMatrixToJsonArray | 将double数组转化为json数组 | double matrix_4x4[16] = { 0.0 }; for (auto i = 0; i < 16; i++) { matrix_4x4[i] = i; } QJsonArray json_arr = StJsonHelper::MatrixToJsonArray(matrix_4x4); | for (auto i = 0; i < 16; i++) { EXPECT_DOUBLE_EQ(json_arr[i].toDouble(), i); } | 与期望相同 | 通过
|  | TestJsonArrayToMatrix | 将json数组转换为double数组 | double matrix_4x4[16] = { 0.0 }; QJsonArray json_arr; for (auto i = 0; i < 16; i++) { json_arr.append(i); } StJsonHelper::JsonArrayToMatrix(json_arr, matrix_4x4); | for (auto i = 0; i < 16; i++) { EXPECT_DOUBLE_EQ(matrix_4x4[i], i); } | 与期望相同 | 通过
| TestStorageSpaceChecker | TestGetDiskStore | 获取硬盘剩余存储空间 | uint64_t free_disk = StorageSpaceChecker::GetDiskStore("C"); | EXPECT_NE(free_disk, 0); | 与期望相同 | 通过
|  | TestIsReady4Stored | 判断硬盘剩余空间是否满足 | bool result = StorageSpaceChecker::IsReady4Stored("C", 1024); | EXPECT_TRUE(result); | 与期望相同 | 通过
| TestStSoftLicense | TestgenerateLicense | 生成注册码 | QByteArray machine_code = "ff08a50ce8095877b34f36cb852f5ec8"; QByteArray host_hash = StSoftLicense::generateLicense(machine_code).toHex(); | EXPECT_EQ(host_hash, "2988716379ec1806f9680337d5a1ef1a"); | 与期望相同 | 通过
|  | TestSystemCode | 生成系统码 | StSoftLicense license; QByteArray res = license.SystemCode(); | EXPECT_EQ(res.toHex(), "ff08a50ce8095877b34f36cb852f5ec8"); | 与期望相同 | 通过
|  | TestisValid | 正确验证注册码 | StSoftLicense license; license.SetActivateKey("123"); | EXPECT_FALSE(license.isValid()); | 与期望相同 | 通过